## Slide 1
Jaime Correia de Sousa, MD, MSc, PhD
Family Physician
Associate Professor, School of Medicine, Minho University, Portugal
President of the International Primary Care Respiratory Group
Tiago Maricoto, MD
Family Physician, Aveiro, Portugal
Spirometry made easy
IPCRG workshop on respiratory diseases

## Slide 2: Objectives
To know the important spirometry parameters
To identify a “good quality” spirometry
To identify the different spirometry patterns
To accurately “read” the results of the test

## Slide 3: Forced spirometry
Spirometry measures airflow and lung volumes, and is the preferred lung function test for COPD and asthma in primary care
Forced exhalation from a maximal inspiration

## Slide 4: To understand the concept

## Slide 5
Tidal Volume (TV)
Total Lung Capacity (TLC)
Vital Capaciity (VC)
Inspiratory Capacity (IC)
Residual Functional Capacity (RFC)
Residual Volume (RV)
Expiratory Reserve Volume (ERV)
Inspiratory Reserve Volume (IRV)

## Slide 6: Important measurements
FVC: Forced Vital Capacity
Volume of air exhaled after full inspiration and full exhalation
FEV1: Forced Expiratory Volume in 1 second
Volume of air exhaled in the first second of forced exhalation.
FEV1 / FVC:
Ratio of vital capacity exhaled in 1 second expressed as a percentage of the total volume of air exhaled after full inspiration and full exhalation

## Slide 7
Total volume of exhaled air in a forced expiratory manoeuvre after a maximal inspiration.
FVC
The less total volume /capacity the less FVC

## Slide 8
FEV1
Exhaled volume in the first second of a forced expiration after a maximal inspiration.
If there is an obstruction, the FEV1 is diminished

## Slide 9: Bronchial obstruction generates less volume in the first second

## Slide 10
% of forced vital capacity expelled during the first second
FEV1 / FVC
Best obstruction measurement
Airflow
Airflow
Airflow
Flow
Flow
Flow

## Slide 11: Factors that influence normal values
Height
  Tall people have larger lungs
Age
  Respiratory function declines with age
Sex
  Lung volumes smaller in females
Ethnicity
  Peculiarly studies show Black and Asian people as a whole, have smaller lung volumes (-12-20 %). No studies for Pacific People.
Posture
  Little difference between sitting and standing. Reduced in supine position.

## Slide 12: When to perform a spirometry?
Asthma and COPD diagnosis and follow up
To asses chronic respiratory symptoms
To identify smokers at risk of COPD

## Slide 13: When not to perform spirometry
Absolute contraindications
Recent pneumothorax
Pulmonary Embolism (before anticoagulation)
Active respiratory infection
Recent myocardial infarction or unstable angor pectoris
Retinal detachment
Aortic Aneurisms
Recent abdominal surgery
Intracranial hypertension
Relative contraindications
Traqueostomy
Problems holding the mouthpiece
Facial hemiparesis
Poor mental condition.

## Slide 14: Effective Methods to Identify the Silent Population with COPD
Handheld screening devices
  Inexpensive and easy-to-use monitors
  Useful for case identification
Validated screening questionnaires
  COPD Population Screener™ (COPD-PS)
  Simple and easy to use
Diagnostic standard spirometry
  The only recognised method for confirming diagnosis

## Slide 15: The most important matter: curves
Any test is only as good as its accuracy
Time/volume
Flow/volume

## Slide 16: The most important matter: curves
FEV1: Volume of air exhaled in the first second of a forced exhalation after complete inspiration
FVC: Total volume of air exhaled after full inspiration and full exhalation
1
2
3
4
5
6
1
2
3
4
Volume, liters
Time, seconds
FVC
5
1
FEV1 = 4L
FVC = 5L
FEV1/FVC = 0.8

## Slide 17: The most important matter: curves
Peak-flow: Maximum airflow during the manoeuvre
FVC
FEV1

## Slide 18: Flow/volume loop
Total lung capacity: volume present in the lung in the transition between maximum inspiration and expiration
Residual volume: volume present in the lung in the transition between maximum expiration and inspiration
Notes: TLC
Total lung capacity: volume present in the lung in the transition between maximum inspiration and expiration
RV
Residual volume: volume present in the lung in the transition between maximum expiration and inspiration

## Slide 19
Spirometry Interpretation

## Slide 21: Is there an obstruction?
1
2
3
4
5
6
1
2
3
4
Volume, liters
Time, seconds
FVC
5
1
FEV1 = 4L
FVC = 5L
FEV1/FVC = 0.8

## Slide 22: Spirometry Interpretation
Is it acceptable and repeatable?
The traces’ shape
Measurements assessment

## Slide 23: Reasons for unacceptable /unreliable readings:
Inadequate or incomplete inhalation
Slow start to the forced exhalation
Lack of blast effort during exhalation
Coughing
Additional breath taken during manoeuvre
Lips not tight around the mouthpiece
Exhalation stops before complete expiration

## Slide 24: Reasons for unacceptable /unreliable readings:
Airflow [L/s]
Cough
Early ending
Volume [L]
Inadequate initial effort
Hesitation
Notes: A inspecção da curva D/V ajuda a decidir se a medição foi feita correctamente e a confirmar a presença duma alteração.
A curva débito-volume pode ser usada para avaliar a aceitabilidade das manobras espirométricas.
A falta de um pico inicial sugere pouco esforço.
A tosse é fácilmente reconhecível. Uma curva que inclua tosse pode ser aceitável se o declive total não estiver interrompido
Uma queda abrupta da curva expiratória sugere que o doente deixou de soprar demasiado cedo.
Se a manobra for completada com um esforço inspiratório para voltar à capacidade pulmonar total, uma falha no início e no fim da curva sugerem uma fuga de ar.

## Slide 25: Recognizing unacceptable /unreliable readings :
DHHS (NIOSH) Publication No. 2012-116 January 2012

## Slide 26: Recognizing unacceptable /unreliable readings :
Falsely reduced FVC can be misinterpreted as indicating a “restrictive impairment.
DHHS (NIOSH) Publication No. 2012-116 January 2012
Lack of repeatability

## Slide 27: Recognizing unacceptable /unreliable readings :
A cough can cause either a falsely reduced or falsely elevated FEV1
DHHS (NIOSH) Publication No. 2012-116 January 2012

## Slide 28: Recognizing unacceptable /unreliable readings :
Falsely reduced FVC may be misinterpreted as indicating a “restrictive impairment.” The falsely increased FEV1/FVC ratio may cause a true “obstructive impairment” to be missed.
DHHS (NIOSH) Publication No. 2012-116 January 2012

## Slide 29: Spirometric patterns
Obstructive
Restrictive
Mixed
Normal

## Slide 32
Obstruction

## Slide 33
Restriction

## Slide 34
Mixed

## Slide 35: Spirometric patterns
FEV1/FVC
FVC
FEV1
Obstruction
Restriction
Mixed
Obstruction and hyperinflation
N
Pletismography and lung volumes studies are needed
N
N

## Slide 36: Any other assesment?
Mild Obstruction | FEV1  80%
Moderate Obstruction | FEV1 < 80%  50%
Severe Obstruction | FEV1 < 50%  35%
Very Severe Obstruction | FEV1 < 35%
GOLD classification
Severity of obstruction

## Slide 37
Quick spirometry assesment
FEV1 /FVC
≥ 70%
Normal
< 70%
Obstruction
FVC
FVC
≥ 80% ref value
< 80% ref. value
≥ 80% do teórico
< 80% ref value
NORMAL
Mixed pattern
OBSTRUCTION
+ HYPERINFLATION (↑VR)
OBSTRUCTION
+
RESTRICTION
(VR normal)
FEV1 : to asses severity of obstruction
RESTRICTION
OBSTRUCTION

## Slide 38: Reversibility Test
Positive if:
    Increase in FEV1 ≥ 12% and 200 ml form basal values
PRÉ
Post
Bronchodilation
EX
Flow (L/s)
IN
Volume (L)
Second full spirometry 15 minutes after inhalation of 400µg of salbutamol or equivalent
Essential for the diagnosis of respiratory diseases
Notes: Geralmente útil relatar as alterações absolutas (em ml) assim como a alteração em % do valor basal, para estabelecer a melhoria no contexto clínico
Considera-se actualmente que:
  FEV1 <8% ou < 150 ml é uma variação normal.

## Slide 39
Notes: Normal
Nuestro compañero de la mañana , ávido de poner en marcha la espirometría ha decidido poner en marcha el espirómetro y actuar como conejillo de indias . Esta es la espirometría que obtenemos
PREGUNTA :
¿ Aunque la espirometría sea normal debemos hacer prueba broncodilatadora ¿

## Slide 40
Notes: PBD positiva y chepa normal

## Slide 41: Bronchial provocation test
Useful to identify bronchial hyperreactivity
Useful when asthma is suspected and normal spirometry
Progressive increasing inhalation doses of Histamine, methacholine, allergens, hypertonic solution, or exercise
Positive test: 20% decrease in FEV1 or more

## Slide 42: Bronchial provocation test

## Slide 43: Contraindications to methacholine challenge testing

## Slide 45: Clinical case 1
Male, 58 years
Works in a ceramics factory
Smoker 15 pack years
Complains of nocturnal dyspnoea and wheezing

## Slide 46: Clinical case 1

## Slide 47: What about the bronchodilation test?

## Slide 48: Clinical case 2
Female, 59 years
Works in a home for the elderly
Hypertension and dyslipidemia
MBI 26,5 kg/m2
Dyspnoea and wheezing with moderate exertion

## Slide 49: Clinical case 2
Notes: Itiff 78,54% bem
FVC 73,4 (< 80%) – indica um padrão restritivo
BD _ FEV1 – 68,8 passou a 74,7% e de 148 ml a 160 ml – prova negativa

## Slide 50: Clinical case 3
Male, 35 years
Works as a mechanic
MBI 28 kg/m2; smoker of 15 pack year
Episodes of night dyspnoea, cough and wheezing
Symptoms also with moderate exertion

## Slide 51: Clinical case 3

## Slide 52: Clinical case 4
Male, 58, former smoker, 12 pack year
BMI 24.26 Kg / m2
Light cough and wheezing with moderate / heavy exertion
Sporadic morning cough and sputum or with “colds”

## Slide 53: Clinical case 4

## Slide 54: Conclusion
Spirometry interpretation is easy
Family physicians should know when to order spirometries
Every family physician should be able to interpret most tests
Look at the curves, values and ratios
Go home and practice

## Slide 55
Respiratory Health: Adding Value
in a Resource Constrained World
In collaboration with:
GRESP Portugal
GRESP Brazil
GRAP Spain
GRAP Chile

## Slide 58: Now you are ready for that... Go home and try!
Thank you for your attention!